# ΠΡΟΔΙΑΓΡΑΦΕΣ ΕΝΤΟΛΗ 175A

# ΜΠΑΤΑΡΙΕΣ UPS APC με κωδικό APCRBC140 (αφορά το UPS APC - SMART UPS RT 7500 rm-xl)

APCRBC140FEATURES

APC Replacement battery cartridge #140

Genuine APC RBC(TM) are tested and certified for compatibility to restore UPS performance to the original specifications.

Includes : Battery recycling guide

BATTERIES & RUNTIME

- Battery type Maintenance-free sealed Lead-Acid battery with suspended electrolyte : leakproof

- Battery mounting Enclosed battery cartridge

- Expected Battery Life (years) 3 - 5

- Replacement battery cartridge note

Each APCRBC140 consists of 2 battery modules as shown in the product image.

- RBC Quantity 1

- Battery Volt-Amp-Hour Capacity 960

PHYSICAL

- Maximum Height 122mm , 12.2cm

- Maximum Width 197mm , 19.7cm

- Maximum Depth 597mm , 59.7cm

- Net Weight 34.55kg

- Shipping weight 37.27kg

- Shipping Height 226mm , 22.6cm

- Shipping Width

- 409mm , 40.9cm

- Shipping Depth 781mm , 78.1cm

- Color Black

- Units per Pallet 20.0

ENVIRONMENTAL

- Operating Environment 0 - 40 °C

- Operating Relative Humidity 0 - 95% no %

- Operating Elevation 0-3000meters

- Storage Temperature -15 - 45 °C

- Storage Relative Humidity 0 - 95% no %

- Storage Elevation 0-15000meters

ΤΕΜΑΧΙΑ 2

Ο Προϊστάμενος Τμ. Πληροφορικής

ΓΕΩΡΓΙΟΣ ΚΟΥΡΤΗΣ

Κοινοποίηση: micropromithies@hospital-elena.gr